## A
Equipment Lists - A (Grand Ballroom)
Case | Item | Units | Remarks
A1 | 2.5mm 15A Extension Commando Cable(15A EC-A1-36M) | 1 | 36m, For Ironing Backup
A1 | 2.5mm 16A Extension Commando Cable(16A EC-A2-20M) | 2 | For Backup for Parcan Lights | Power Supply
A1 | 2.5mm 16A Extension Commando Cable(16A EC-A1-20M) |  | For Backup for Parcan Lights | Lighting
A1 | 2.5mm 16A Extension Commando Cable(16A EC-C1-18M) | 1 | For Backup for Parcan Lights | Sound
A1 | 2.5mm 16A Extension Commando Cable(16A EC-B1-19M) | 1 | For Backup for Parcan Lights
A1 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A6-20M) | 6 | for Ironing
A1 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-D5-17M)
A1 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-B1-19M)
A1 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A4-20M)
A1 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A7-20M)
A1 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-C1-18M)
A1 | Wooden Stake | 60 | for 静心阁，感恩阁，许愿阁
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A_3PC-A7-1M) | 8 | FOR BACKUP
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A 3PC-A1-1M)
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A 3PC-A4-1M)
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A 3PC-A3-1M)
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A_3PC-A10-1M)
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A 3PC-A5-1M)
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A_3PC-A8-1M)
A2 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A 3PC-A2-1M)
A2 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A10) | 5 | for Parcan Lights(3), FOH (2)
A2 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A3)
A2 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G_16ACS-A20)
A2 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A16)
A2 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A9)
A2 | 20W Spotlight (6 + 4pcs) | 10 | For 净心閣 + 4 Backup
A2 | 20W Spotlight (11pcs) | 11 | Backup For Lotus Lake, 感恩閣, 许愿阁
A2 | 4MM 20A 3 Pin Plug Top With Commando Socket(20A_3PC-A3-1M) | 4 | For Parcan Light, 1pc for Backup
A2 | 4MM 20A 3 Pin Plug Top With Commando Socket(20A_3PC-A4-1M)
A2 | 4MM 20A 3 Pin Plug Top With Commando Socket(20A_3PC-A5-1M)
A2 | 4MM 20A 3 Pin Plug Top With Commando Socket(20A_3PC-A6-1M)
A2 | 2.5MM 16A 3 Pin 15A Plug Top With Commando Socket(16A_3PC-Z1-2M) | 1 | Lotus Lake's PA system
A4 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A17) | 1 | Lotus Lake's PA system
A4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-C3-18M) | 2 | for Lotus Lake 喷雾机
A4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-B2-19M)
A4 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G_10AEC-E6-10M) | 2 | For YAMAHA DXR12
A4 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G_10AEC-E5-10M)
A4 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A_3PC-A11-1M) | 1 | Backup for Lotus Lake 喷雾机
A4 | 4MM 20A 3 Pin Plug Top With Commando Socket(20A_3PC-A2-1M) | 2 | for Lotus Lake 喷雾机
A4 | 4MM 20A 3 Pin Plug Top With Commando Socket(20A_3PC-A1-1M)
A4 | Speaker Stand | 4 | For StagePas & DXR at Lotus Lake & 许愿阁
A4 | XLR/XLR 1+1pcs | 2 | For DXR12 (许愿阁), 1pc For Backup
A4 | MONOJACK-XLR 1+1pcs | 2 | From StagePas CONNECT to DXR12 (许愿阁), 1pc for Backup
A4 | MONOJACK-MONOJACK 2+1pcs | 3 | For StagePas (Lotus Lake), 1 pc for Backup
A4 | Wooden Stake 1 | 10 | For Backup
A4 | Lighting Cable 5+3pcs | 8 | for Lotus Lake Backdrop & Pillar (35m), Lotus Lake (30m) , opposite Lotus Lake (10m), 感恩阁 &许愿阁 (50m) , 净心阁(15m)
A3 | 100W | 6 | For Lotus Lake Pillar
A3 | 20W Spotlights (Bigx8) (Mediumx51) | 59 | For Opposite Lotus Lake(Bigx8) & Lotus Lake, 感恩閣, 许愿阁 all using Medium size
A3 | 20W Spotlight (Small) | 11 | Backup For Lotus Lake, 感恩閣, 许愿阁
A5 | PARCAN x4 | 4 | For 佛台
A6 | PARCAN x4 | 4 | For 佛台
A7 | PARCAN x4 | 4 | For 佛台
A8 | PARCAN x2 | 2 | For 佛台
A9 | PARCAN x4 | 4 | For 佛台
A10 | Lighting Mixer | 1 | For 佛台
A11 | YAMAHA StagePas x2 | 2 | For Lotus Lake
A12 | DXR | 1 | For 许愿阁
A13 | DXR | 1 | For 许愿阁
A14 | Toolbox | 1 | For Grand Ballroom
A15 | Big Speaker Stand/Bazooka (spotlight) | 1 | For opposite Lotus Lake

## B
Equipment Lists - B (Marquee Tent)
Case | Item | Units | Remarks
B1 | 63A 3Phase Cable to Female Commando(63A3P-FC-A3) | 1 | For Backup
B1 | 40A 3 Phase DB-6 Channels(40A-3PDB-6C-C5) | 1 | For PA System and Video Mixer, place under FOH table | Power Supply
B1 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-D1-14M) | 3 | For 烫斗ironing (2pcs) & Wifi Access point (DJI & AI Camera)(1pc) | Sound
B1 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-A1-24M)
B1 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-B1-22M)
B1 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A8) | 2 | PA system Power AMP
B1 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A7)
B1 | 4 GANG 10A 1.5MM COMMANDO SOCKET(4G 10A CS-A4) | 5 | For FOH, 1 pc for backup
B1 | 4 GANG 10A 1.5MM COMMANDO SOCKET(4G 10A CS-A1)
B1 | 4 GANG 10A 1.5MM COMMANDO SOCKET(4G 10A CS-A2)
B1 | 4 GANG 10A 1.5MM COMMANDO SOCKET(4G 10A CS-A6)
B1 | 4 GANG 10A 1.5MM COMMANDO SOCKET(4G_10ACS-A7)
B1 | 4mm 20A Extension Commando Cable(20A_EC-F8-5M) | 1 | 5m, Backup for ironing purpose
B1 | 2.5mm 16A Extension Commando Cable(16A EC-D1-7M) | 2 | 7m, Backup for ironing purpose
B1 | 2.5mm 16A Extension Commando Cable(16A EC-D2-7M)
B1 | Speakon Cable x6 | 6 | 40m, for Wei Yang PA system
B1 | 32A 3Phase Commando Flexible Cable 6MM X 5Core(32EC-D1-2M) | 1 | 2m, From LED Vendor 63A DB connect to our 3P32A Mobile DB
B1 | 2 GANG WITH BOX EXTENSION CABLE WITH 3 PIN 13A PLUG TOP(JS-2GE-A1-48M) | 1 | For Backup
B1 | 1.5mm 10A Extension Commando Cable(10A EC-F2-22M) | 1 | For Backup
B2 | Power Amp | 1 | For Wei Yang sx PA System
B3 | PS15 x2 | 6 | For Wei Yang sx PA System
B4 | PS15 x2
B5 | PS15 x2
B6 | Mic Stand x2 | 2 | For Wei Yang sx PA System
B6 | Speaker Stand x4 | 6 | For PS15 x 6 sets
B7 | Speaker Stand
B8 | Speaker Stand
No Box-Marquee Tent | 63A 3Phase Commando Flexible Cable 16MM x 5 Core(63A3P CC-A2-25M) | 2 | 25m, For P3 LED Screen
No Box-Marquee Tent | 63A 3Phase Commando Flexible Cable 16MM x 5 Core(63A3P CC-A3-25M)
No Box-Marquee Tent | Big Speaker Stand x2 | 2 | For Wei Yang sx PA System

## C
Equipment Lists - C (Hall 1 & 2)
Case | Item | Units | Remarks
C1 | 40A 3 Phase DB-6 Channels(40A-3PDB-6C-C2) | 4 | For FOH, Water Dispenser, Ironing Cloth, 1 For Backup
C1 | 40A 3 Phase DB-6 Channels(40A-3PDB-6C-C1)
C1 | 40A 3 Phase Power DB-6 Channels(40A-3PDB-6C-C6)
C1 | 40A 3 Phase DB-6 Channels(40A-3PDB-6C-C3)
C1 | 20W Spotlgiht (16+4pcs) | 20 | For Entrance Display (8) & 扭蛋机(3) , Backup(9) | Power Supply
C1 | Lighting Cable x4 | 3 | 2 For Entrance 20W Spotlight (Small), 1 for 扭蛋机 (65m,25m,55m), 1pc for Backup | Lighting
C1 | Speaker Stand x3 | 3 | 2 For 茶艺 Chinese Tea Art StagePas, 1 for BareTone Speaker | Sound
C1 | Monojack / Monojack x2 + 1 | 3 | 2 For 茶艺 Chinese Tea Art StagePas, 1 For Backup
C1 | Monojack x XLR x1 | 2 | 1 For 茶艺 Chinese Tea Art StagePas,1 For Backup
C2 | 63A 3Phase Cable to Female Commando(63A3P-FC-A1) | 1 | Converter for Chiller & 1 Freezer
C2 | 32A 3Phase Cable to Female Commando(32A3P-FC-A1) | 1 | Converter for another 1 Freezer
C2 | 32A 3Phase Commando Flexible Cable 6MM X 5Core(32EC-C1-8M) | 1 | For FOH
C2 | 32A 3Phase Commando Flexible Cable 6MM X 5Core(32EC-A6-30M) | 2 | For 2 Freezer
C2 | 32A 3Phase Commando Flexible Cable 6MM X 5Core32EC-A7-30M
C2 | 32A 3Phase Cable to Female Commando(32A3P-FC-A4) | 3 | Ironing
C2 | 32A 3Phase Cable to Female Commando(32A3P-FC-A2) |  | FOH
C2 | 32A 3Phase Cable to Female Commando(32A3P-FC-A3) |  | Water dispenser
C2 | 63A 3Phase Male Commando To 32A 3Phase Female Commando Converter(63A32A3P-MTFC-A2) | 1 | For Cooking Area
C3 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-F6-9M) | 2 | for Video Cam (Near Stage)
C3 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-F2-9M)
C3 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-E2-10M) | 5 | For 扭蛋机
C3 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-F1-9M)
C3 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-F4-9M)
C3 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-F5-9M)
C3 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-F3-9M)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A15) | 12 | for FOH, 3 for Backup
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A5)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A18)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A4)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A19)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A6)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A11)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A14)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A13)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A12)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A2)
C3 | 4 GANG 16A 2.5MM COMMANDO SOCKET(4G16A CS-A1)
C3 | 4 GANG 8A 1.0MM COMMANDO SOCKET(4G 8A CS-A4) | 2 | For 扭蛋机
C3 | 4 GANG 8A 1.0MM COMMANDO SOCKET(4G 8A CS-A1)
C4 | 4mm 20A Extension Commando Cable(20A EC-B1-19M) | 6 | for Hall 1&2 Water dispensers
C4 | 4mm 20A Extension Commando Cable(20A EC-D1-12M)
C4 | 4mm 20A Extension Commando Cable(20A EC-F4-5M)
C4 | 4mm 20A Extension Commando Cable(20A EC-F6-5M)
C4 | 4mm 20A Extension Commando Cable(20A EC-B2-19M)
C4 | 4mm 20A Extension Commando Cable(20A EC-A1-32M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-C4-18M) | 18 | For Cooking Area(6 pcs), Total 6 units Water dispenser in Hall 1 & 2 (3 pcs), 茶艺(9 pcs)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-D4-17M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-E2-16M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-E1-16M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A9-20M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A1-20M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-D2-17M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-F2-14M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-F1-14M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-D3-17M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-C6-18M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A3-20M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A5-20M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-C5-18M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A8-20M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-C2-18M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-A2-20M)
C4 | 2 Gang Metal Socket With 16A 2.5mm Extension Commando Cable(2G 16AEC-G1-1M)
C4 | 1.5MM 13A 3 Pin Plug Top With Commando Socket(3PC-C3-1M) | 1 | For Backup
C4 | 2 Gang Metal 10A 1.5mm Extension Commando Cable(2G 10AEC-C1-16M) | 1 | For Backup
C5 | 1.5MM 13A 3 Pin Plug Top With Commando Socket(3PC-C2-1M) | 5 | For Backup
C5 | 1.5MM 13A 3 Pin Plug Top With Commando Socket(3PC-C7-1M)
C5 | 1.5MM 13A 3 Pin Plug Top With Commando Socket(3PC-C5-1M)
C5 | 1.5MM 13A 3 Pin Plug Top With Commando Socket(3PC-C6-1M)
C5 | 1.5MM 13A 3 Pin Plug Top With Commando Socket(3PC-C1-1M)
C5 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A_3PC-A9-1M) | 1 | For Cooking Area
C5 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A_3PC-B1-5M) | 2 | For Water Dispenser
C5 | 2.5MM 16A 3 Pin Plug Top With Commando Socket(16A_3PC-A12-1M)
C5 | 4MM 20A 3 Pin 15A Plug Top With Commando Socket(20A_3PC-A8-1M) | 1 | For Water Dispenser
C5 | 4MM 20A 3 Pin 15A Plug Top With Commando Socket(20A_3PC-A10-1M) | 1 | For 茶艺
C5 | 4MM 20A 3 Pin 15A Plug Top With Commando Socket(20A_3PC-A9-1M) | 2 | For 茶艺
C5 | 4MM 20A 3 Pin 15A Plug Top With Commando Socket(20A_3PC-A7-1M)
C5 | 2.5MM 15A 3 Pin Commando Y Cable(16A3PY-01) | 2 | For 茶艺
C5 | 2.5MM 15A 3 Pin Commando Y Cable(16A3PY-02)
C5 | 2.5MM 16A 3 Pin 13A Plug Top With Commando Socket(16A_3PC-A15-1M) | 3 | For 茶艺
C5 | 2.5MM 16A 3 Pin 13A Plug Top With Commando Socket(16A_3PC-A14-1M)
C5 | 2.5MM 16A 3 Pin 13A Plug Top With Commando Socket(16A_3PC-A13-1M)
C6 | Ramp B (T Type) - 01 | 12 | For Chiller and Freezer
C6 | Ramp B (T Type) - 02
C6 | Ramp B (T Type) - 03
C6 | Ramp B (T Type) - 04
C6 | Ramp B (T Type) - 05
C6 | Ramp B (T Type) - 06
C6 | Ramp B (T Type) - 07
C6 | Ramp B (T Type) - 08
C6 | Ramp B (T Type) - 09
C6 | Ramp B (T Type) - 10
C6 | Ramp B (T Type) - 11
C6 | Ramp B (T Type) - 12
C7 | BARETONE WITH MONOJACK/XLF FEMALE & MIC | 1 | Including Wire Mic & Mic Cable, For annoucement in Cooking Area
C8 | StagePas x2 | 1 | For 茶艺 Chinese Tea Art
No Box - Hall 1 & 2 | 63A 3Phase Commando Flexible Cable 16MM x 5 Core(63A3P CC-A1-25M) | 2 | For Chiller
No Box - Hall 1 & 2 | 63A 3Phase Commando Flexible Cable 16MM x 5 Core(63A3P CC-B1-20M)
No Box - Hall 1 & 2 | 32A 3Phase Commando Flexible Cable 6MM X 5Core(32EC-A3-30M) | 2 | For 2 Freezer
No Box - Hall 1 & 2 | 32A 3Phase Commando Flexible Cable 6MM X 5Core(32EC-A4-30M)
No Box - Hall 1 & 2 | Junction Box | 1 | For Chiller and 2 Freezer